## Slide 1: Análisis del Cableado Estructurado en un Centro de Datos

## Slide 2: ¿Quienes Somos?

## Slide 3: Soluciones

## Slide 4: AGENDA

## Slide 7: The State of the Data Center

## Slide 8: Datacenter Lifecycle

## Slide 9: Data Center Project Lifecycle

## Slide 10: Picking a Starting Point

## Slide 11: 2. Installation and Validation Cable and Fiber Testing

## Slide 12: Agenda – Fiber/Copper Infrastructure Testing

## Slide 13: Today’s Datacenter

## Slide 14: Networks for a Virtualized Datacenter

## Slide 15: Networks for a Virtualized Datacenter

## Slide 16: Networks for a Virtualized Datacenter

## Slide 17: Networks for a Virtualized Datacenter

## Slide 18: Copper Cabling in the Data Center

## Slide 19: Networks for a Virtualized Datacenter

## Slide 20: Example: Copper Applications

## Slide 21: TIA Categories for UTP components and links

## Slide 22: Standards also provide specifications for test methods and accuracy of field test equipment

## Slide 23: Plugs and standards

## Slide 24: Alien Crosstalk (AxTalk) testing:

## Slide 25: How is it measured?

## Slide 26: Networks for a Virtualized Datacenter

## Slide 27: Fiber Optic Cabling in the Data Center

## Slide 28: IEEE 802.3ba 40/100G Ethernet

## Slide 29: OM4 goes farther! Do you need it?

## Slide 30: Data Center Evolution

## Slide 31: Verifying Continuity, Polarity, and Insertion Loss for Datacenter links

## Slide 32: Verification -Inspecting and Cleaning

## Slide 33: Verification with a VFL

## Slide 34: What is needed …

## Slide 35: Introducing MultiFiber™ Pro

## Slide 36: Prepare the meter for testing

## Slide 37: Certifying Data Center Fiber Links and Channels

## Slide 38: Tier 1 (Basic Certification )

## Slide 39: Certifying Data Center Fiber Cabling with an OTDR –Tier 2

## Slide 40: How does an OTDR work?

## Slide 41: Simple OTDR Trace

## Slide 42: Datacenter OTDR requirement #1

## Slide 43: Datacenter OTDR requirement #2

## Slide 44: Datacenter OTDR requirement #3

## Slide 45: Datacenter OTDR requirement #4

## Slide 46: Finding Faults in the Datacenter

## Slide 47: Tools To Measure Reflectance

## Slide 48: Testing With An Optical Fiber Troubleshooter

## Slide 49: Comparación de Rendimiento

## Slide 50: Poor ACR (and NEXT problems)can lead to FCS and CRC errors and – Retransmissions!

## Slide 51: Near End Crosstalk (NEXT)

## Slide 52: También tenemos lomos….. Perdida de retorno

## Slide 53: Combinando 2 efectos: atenuación y NEXT: S/N = ACR

## Slide 54: El concepto de “power sum”

## Slide 56: ANSI/TIA requirements

## Slide 57: Poor ACR (and NEXT problems)can lead to FCS and CRC errors and – Retransmissions!

## Slide 58: Versiv: Una plataforma de comprobación de estructuras para todo

## Slide 59: LinkWare Live supports DSX-8000

## Slide 61: Fallo de NEXT #1

## Slide 62: Fallo de Pérdida de Retorno #1

## Slide 64: Alien Crosstalk

## Slide 65: ¿Qué es Alien Crosstalk?

## Slide 66: Ready for Today’s and Tomorrow’s Requirements

## Slide 67: http://www.networks.pe/cctt

## Slide 68: https://www.facebook.com/Networks.Peru

## Slide 70: Gracias por su tiempo